Overview
FMD Quasi-online
Calibrations
Algorithms and strategies
Current status
Tentative Time Table
Other issues
Open Questions
Christian Holm Christensen

---
Algorithms
Algorithms
Pedestals
  - Done on LDC
  - Result to FEE (via DCS?) and CDB (via SHUTTLE)
Pulser gains
  - Special `chopped' run
  - Result to CDB (via SHUTTLE)
LDC
DCS
DB
Pedestal
run Data
CDB
PedestalFinder
<<standalone>>
FEE
DCS: Start
pedestal
calib
`Condi-
tions'
Maps
DCS
DB
CDB
Reconstruct
strip ADC counts
`Conditions'
Maps
pedestals(?)
Gain match calibration
Pulser
run data
Find
Threshold
`Poisson Threshold'
`Gain matching'
LDC
`special' run

---
Stragegies - pedestal
Strategies 1 - Pedestal
Simply histogram ADC values from all strips (and over-samples)
Post-proc. get ADC & RMSADC (poss. fit μ & σ)
Result stored in AliFMDCalibPedestal
Basically a `no-brainer' :-)
`Use case 1'
[Speaker Notes: For code to go into to AliROOT, we essentially just need to write it – heck, a bachelor student could do that :-) `Use case' refers to document by Yves.]

---
Strategies - pulser gain
Strategies 2 – pulser gain
Must make `sub-runs', according to:
`Use case 1'
record_data_on_ldc();
for (i = 0; i <= 127; i++) {
set_strip_range(i,i);
for (j = 1; j < npulses; j++) {
set_pulser_voltage(j * dpulse);
for (k = 0; k < nevents; k++) {
get_event();
}
calculate_mean_of_data();
}
f = fit_pulser_voltage_vs_mean_of_data();
write_to_CDB(f);
}
or `Use case 3'
Maybe w/self-trigger (need sync. w/DAQ).
ITS similar strategy?
[Speaker Notes: The issue is, if we do self-triggering, we need to say (from a program or the like): `we're done, stop taking data, and start a new run when I say so'. If we use the normal trigger, we need to monitor the local DAQ, ask it to stop recording, change values, and then let the DAQ run again. If we can stuff things into the event trailer of the RCU data (open question), then we do not need to split the run. We need only monitor the number of events, and then change values (pulser, strip) after some number of events. Rate is no longer a problem! In AliROOT we need fake data creator for this to be implemented there. We'd like some time to get into this – perhaps some kind help from FEE, DCS, and DAQ experts. If Filimon is there, he may have input.]

---
Current status
On-line code:
  - Very basic prototypes.
  - Would like some input on pulser calib. from experts (DCS,DAQ,...?)
SHUTTLE:
  - Nothing so far
Post-proc.
  - Nothing so far
`Fake' code in AliROOT:
  - Nothing so far (has low priority).
[Speaker Notes: OK, this is the bad news: There really isn't any news. The statement that code in AliROOT has very low priority might provoke some. The point is, that the input data for this (in particular the pulser calib.) cannot be made from simulated data or the like – it's entirely an internal electronics thingy of the VA1 pre-amps. Therefor, one would need to make fake data to do this. And obviously, the real code that's supposed to do the real task has much higher priority.]

---
Tentative Time Table
Tentative Time Table
FEE work has taken a lot of time.
Large overlap of expertise and personnel.
We hope to simply customize TPC code for DCS, etc.
Installation creeping up on us.
End of this year:
  - Pedestal code, prob. w/shuttle.
  - Start work on pulser code.
March/April next year:
  - all done.

---
Other Issues
Other issues
There are other `conditions' that is needed off-line.
These are stored in the DCS DB as set points.
Alternatively, they could be appended to RCU data stream.
A SHUTTLE will pick up these from DCS, and store them in CDB.
[Speaker Notes: Running conditions like oversampling, strips readout, zero suppression, etc. is normally set via DCS, and the DCS logbook will contain the set-points. However, in Yves' document entitled Calibration from the 27th of June, 2006, it is stated that for the TPC, 'Parameters of the FEE required for reconstruction, such as tail cancellation, zero suppression, sampling frequency[,] and acquisition window status bits, will be written by the RCU into the event trailer.' We do not currently know how to do this for the FMD, but if it is at all possible, we'd follow that strategy as closely as possible. Update: I've sent a mail to Luciano, but so far I have not heard anything.]

---
Open Questions
Open Questions
Need to look into SHUTTLE framework.
Need to find best option for triggers for pulser gain calib.
Maybe others have similar problem?
Need to know if and what can be appended to RCU data stream.
Need to figure out how to put pedestals to FEE from LDC (TPC input?)